Request for Quotations

The Tuvalu Fisheries Authority (TFA), implementing the New Zealand funded Tuvalu Fisheries Support Programme Phase 3 (TFSP3), is seeking quotations for supply of materials and equipment for a new solar power system for its Mariculture Hatchery.

Interested suppliers should quote for all listed equipment, which should be shipped at one time. Note that quotations must include freight to Tuvalu and an estimated date of delivery. There may be penalties for delivery that is significantly later than the estimated date.

The list of requirements provides detailed product names and specifications. If any substitution is proposed please enter details in the comments column of the attached table.

Otherwise please enter prices in Australian Dollars (AUD) in the attached table and send by email to the Project Manager Noa Petueli Tapumanaia email opetaia.noa@gmail.com before 4.30 p.m. local time on Friday 10th  October.

Any questions can be directed to the technical adviser Michael Batty email michaelb@tuvalufisheries.tv

Solar Power Equipment for TFA Hatchery:

| Item |  | Comments/substitutions | Qty | Unit Cost | Total AUD$ |
| --- | --- | --- | --- | --- | --- |
| Jinko Solar Tiger Neo III 475W Quarter Cut Black Frame Dual Glass CRE4 PPE2 (JKM475N-48QL6-DV) | 47.5 kW system |  | 100 |  |  |
| Sigenergy Sigenstor ¦ 30.0kW 3ph Smart Hybrid Inverter ¦ IP66 ¦ 10yr Warranty |  |  | 2 |  |  |
| Sigenergy ¦ C60-2 Gateway ¦ 3ph ¦ 60kW ¦ Communication Hub |  |  | 1 |  |  |
| Sigenergy Sigenstor 10 ¦ 9.04 kWh Battery ¦ Fire Safety ¦ IP66 ¦ 100% D.O.D | 98 kWh storage |  | 12 |  |  |
| Sigenergy Sigenstor Installation Kit for Ground-mounted with Adjustable Levelers Feet |  |  | 2 |  |  |
| Schletter - Rail Pro50 4700mm - Silver |  |  | 52 |  |  |
| Schletter End Clamp Rapid16 30-40mm Silver |  |  | 30 |  |  |
| Schletter Mid Clamp Rapid16 30-40mm Silver |  |  | 200 |  |  |
| Schletter RapidPro L with EPDM |  |  | 400 |  |  |
| Schletter Rail Connector Splice for the above |  |  | 26 |  |  |
| Module Cable Clip – stainless steel |  |  | 400 |  |  |
| Schletter Rail cable clips |  |  | 90 |  |  |
| Schletter universal Screw 80mm, purlin |  |  | 400 |  |  |
| Schletter Earthing Clamp profile |  |  | 10 |  |  |
| Staubli MC4-Evo Ready 4/6mm Connectors (Pair) |  |  | 10 |  |  |
| Label kits – Solar PV and Battery Hazard kits |  |  | 1 |  |  |
| Solar Cable, 4 mm2 twin core black x 200 m |  |  | 1 |  |  |
| Solar Cable, 6mm2 single core Earth x 100 m |  |  | 1 |  |  |
| 25mm solar conduit x 4m |  |  | 25 |  |  |
| 16mm 4C+E circ 0.6/1kV TPS Flex |  |  | 10 |  |  |
| Freight – packaged and delivered to Funafuti, Tuvalu |  |  | 1 |  |  |